Specifications

1. 	Description and physical characteristics

  - The air curtain frame shall be made of aluminium with steel side panels.

Fans shall  be integrated into the steel panels. The noozle plate and the noozles should be made of aluminium.

1.2	The nozzles shall  be slightly slanted towards the door. The incline and the configuration of the nozzles shall  have

to be adapted to the dimensions of the door.

1.3	The fans shall  be offered in 115 volts or 230 volt single-phase current, and 230 or 575 volt three-phase current.

1.4    	The air curtain shall  be painted with a TGIC free polyester powder coat. It shall  have a smooth surface for easy 		cleaning. The colour shall  be chosen by the architect or the customer.

1.5	 The air curtain shall be available vertical or horizontal installation.

2.	Performances

2.1	The air curtain shall provide a thermal wall allowing for  energy savings of up to 70%.

2.2	The air jets shall reach the floor over the entire width of the air curtain with velocities superior to 500 ft / min.

2.3	The fans shall have a factor of protection (norm IP) against foreign object intrusion (minimum 5) and (minimum 4) 		IP54 water resistance.

2.4	The air curtain shall have an indicator light to confirm the operation of each of the fans.

2.5	Each fan shall be equiped with internal thermal protection, as well as protection against surcharges with a

manual reinitialization.

3.	Control

3.1	The air curtain shall be equiped with a magnetized switch (automatic opening/closing of the door) supplied

by the manufacturer.

3.2	The control panel shall be equiped with a selection switch for manual, automatic or stop mode.

3.3	Optionnally, the air curtain shall be available with a variable speed drive.

4.	Accreditation

4.1	The air curtain shall be approved accordind to the CSA C22.2 No113 Fans and Ventilators or ANSI/UL according

to  UL 507 Standard for Safety Electric Fans.

5.	 Quality required: NAD Klima, air curtain NAC